# SCHEDULE V

CONTENTS OF AMBULANCE VAN OR CARRIAGE

[See rule 227]

The Ambulance Van shall have equipment prescribed as under:

- General: A portable stretcher with folding and adjusting devices with the head of the stretcher capable of being tilted upward.  Fixed suction unit with equipment.   Fixed oxygen supply with equipment. Pillow with case, sheets, blankets, towels, emergency bag, bed pan, urinal glass.

- Safety Equipment: Flares with life of three thousand minutes, floor lights, flash lights, fire extinguishers (dry powder type), insulated gullets

- Emergency Care Equipment:

- Resuscitation: Portable suction unit. portable oxygen unit. bagvalve mask. hand operated artificial ventilation unit, airways, mouth tracheostomy adapters, short spine board. l. V. Fluids with administration unit. B.P. manometer, cuff stethoscope.

- Immobilisation: Long and short padded boards, wire ladder splints, triangular bandage - long and short spine boards.

- Dressing: Gauze pads: 100 millimetre x 100 millimetre universal dressing 250 x 1000 millimetres roll of aluminium foils- soft roller bandages 150 millimetre x 5   millimetre yards adhesive tape in 75 millimetre roll of safety pins, bandage sheets, burn sheets.

- Poisoning: Syrup of Ipecac, activated charcoal pre-packaged does, snake bite kit. drinking water.

- Emergency Medicine:   as   per   requirement (under   the   advice   of construction Medical Officer).