# SCHEDULE IV

(ARTICLES FOR AMBULANCE ROOM)

[See rule 226 (c)]

- A glazed sink-with hot and cold water always available.

- A table with a smooth top at least 180/ centimetres x 105 centimetres.

- Means for sterilising instruments.

- A couch.

- Two stretchers.

- Two buckets or containers with close fitting lids.

- Two rubber hot water bags.

- A kettle and spirit stove or other suitable means of boiling water.

- Twelve plain wooden splints 900 centimetres x 100 centimetres x 6 centimetres.

- Twelve plain wooden splints 350 centimetres x 75 centimetres x 6 centimetres.

- Six plain wooden splints 250 centimetres x 50 centimetres 12 centimetres.

- Six woollen blankets.

- Three pairs artery forceps.

- One bottle of spiritus anemic aremations (120 millilitre).

- Smelling salt (60 grams).

- Two medium size sponges.

- Six hand towels.

- Four kidney trays.

- Four cakes of toilet, preferably antiseptic soap.

- Two glass tumblers and two wine glasses.

- Two clinical thermometers.

- Two tea spoons.

- Two graduated (120 millilitre) measuring glasses.

- Two minimum measuring glasses.

- One wash bottle (1000 cubic centimetre) for washing eyes.

- One bottle (one litre) carbolic lotion 1 in 20.

- Three chairs.

- One screen.

- One electric hand torch.

- Four first-aid boxes or cupboards stocked to the standards prescribed in the Schedule III.

- An adequate supply of tetanus toxide.

- Injections-morphia. pethidine. atrophine. adrenaline, coramine, novacaine (6 each).

- Cramine liquid (60 millilitre).

- Tablets - antihistaminic antispasmodic (25 each)

- Syringes with needles-2 cubic centimetres, 5 cubic centimetres, 10 cubic centimetres and 500 cubic centimetres.

- Three surgical scissors.

- Two needle holders, big and small.

- Suturing needles and materials.

- Three dissecting forceps.

- Three dressing forceps.

- Three scalpels.

- One stethoscope and a B.P. apparatus.

- Rubber bandage - pressure bandage.

- Oxygen cylinder with necessary attachments.

- Atropine eye ointments.

- I.V. Fluids and sets 10 numbers.

- Suitable, foot operated covered, refuse containers.

- Adequate number of sterilised. paired, latex hand gloves.